## UpdatedTable 2
Area | Area Label | Test_Label | Source_Room | Receiving_Room | Partition_Type | Design_STC | Test_Date | Report_Date | Source | Recieve | BNL | RT | Position1 | Position2 | Position3 | Position4 | Carpet | SourceTap | AIIC | ASTC | NIC | source_room_vol | receive_room_vol | partition_area | partition_dim | source_room_finish | srs_floor | srs_ceiling | srs_Walls | receive_room_finish | rec_floor | rec_ceiling | rec_Wall | tested_assembly | expected_performance | Annex_2_used? | Test_assembly_Type | Project_Name | Site_Name | Client_Name
|  | 1.1.1 | 2nd Floor Great Room | 1st Floor Great Room/Kitchen | Floor-ceiling | 47 | 2024-04-04 | 2024-04-15 | A029 | E264 | E263 | E140 | E265 | E266 | E267 | E268 | E269 | A030 | 1 | 1 | 1 | 3949 | 3949 | 428 | 14.8x29.583 | finished, unfurnished | Carpet | gyp | gyp | finished unfurnished | LVT | gyp | gyp | Floor-ceiling | Yes | No | Floor-ceiling | Ka'ulu by Gentry ASTM Testing | building1 | Gentry Builders
|  | 1.2.1 | 2nd Floor Kitchen | 1st Floor Great Room/Kitchen | Floor-ceiling | 47 | 2024-04-04 | 2024-04-15 | A029 | E264 | E263 | E140 | E270 | E271 | E272 | E273 | E274 | A031 | 1 | 1 | 1 | 3949 | 3949 | 428 | 14.8x29.583 | finished unfurnished | LVT | gyp | gyp | finished unfurnished | LVT | gyp | gyp | Floor-ceiling | Yes | No | Floor-ceiling | Ka'ulu by Gentry ASTM Testing | building1 | Gentry Builders
|  | 1.3.1 | 2nd Floor Bed 3 | 1st Floor Bed 2 | Floor-ceiling | 47 | 2024-04-04 | 2024-04-15 | A033 | E281 | E275 | E141 | E276 | E277 | E278 | E279 | E280 | A032 | 1 | 1 | 1 | 796 | 1413 | 88.2 | 9x9.8 | finished, unfurnished | Carpet | gyp | gyp | finished unfurnished | LVT | gyp | gyp | Floor-ceiling | Yes | No | Floor-ceiling | Ka'ulu by Gentry ASTM Testing | building1 | Gentry Builders
|  | 1.4.1 | 2nd Floor Bed 1 | 1st Floor Bed 1 | Floor-ceiling | 47 | 2024-04-04 | 2024-04-15 | A034 | E282 | E283 | E142 | E284 | E285 | E286 | E287 | E288 | A035 | 1 | 1 | 1 | 1176 | 1413 | 130.4 | 12.3x10.6 | finished, unfurnished | Carpet | gyp | gyp | finished, unfurnished | LVT | gyp | gyp | Floor-ceiling | Yes | No | Floor-ceiling | Ka'ulu by Gentry ASTM Testing | building1 | Gentry Builders

## Rooms
Area | Area Label | Test Label | Source Room | Receiving Room | Partition Type | Notes | Prelim Results | Test Date | Report Date | Source | Recieve | BNL | RT | ASTC | NIC | source room vol | receive room vol | partition area | partition dim | source room finish | srs_floor | srs_ceiling | srs_Walls | receive room finish | rec_floor | rec_ceiling | rec_Wall | tested assembly | expected performance | Annex 2 used? | Test assembly Type
|  | 1.1.1 | 1Q109 | 1Q110 | Wall 2 | ACT tiles out in both rooms | [7 empty] | 1 | 1 | 1290 | 1210 | 120 | 12x10 | [9 empty] | Yes | No | Partition
|  | 1.2.1 | MECH 1S169B | Corridor COS1 | Wall 7 |  | NIC 42 | [6 empty] | 1 | 1 | 11950 | 52440 | 250 | 25x10 | [9 empty] | Yes | No | Partition
|  | 1.3.1 | Audiometric ex. 1H107 | Aud. Exam. 1H105 | Wall 2 |  | NIC 42 | [6 empty] | 1 | 1 | 3040 | 3040 | 120 | 12x10 | [9 empty] | Yes | No | Partition
|  | 1.4.1 | Spec. Exam 1G110 | Spec. Exam 1G108 | Wall 2 |  | ASTC 41 NIC 45 | [6 empty] | 1 | 1 | 2740 | 2740 | 120 | 12x10 | [9 empty] | Yes | No | Partition
|  | 1.5.1 | Exam 1F105 | Corridor COF | Wall 1 with door F105 | towel in use | [7 empty] | 1 | 1 | 1200 | 2070 | 100 | 10*10 | [8 empty] | Wall type 1 with Door F105 | Yes | No | Partition with Door
|  | 1.6.1 | Exam 1F103 | Telehealth Exam 1F101 | Wall | [8 empty] | 1 | 1 | 1220 | 1780 | 120 | 12*10 | [9 empty] | Yes | No | Partition
|  | 1.7.1 | Counsel 1B103 | Counsel 1B101 | Wall 2 | [8 empty] | 1 | 1 | 1200 | 1360 | 120 | 12x10 | [9 empty] | Yes | No | Partition
|  | 1.8.1 | Group 1A101 | Group Room 1A103 | Wall 2 | [8 empty] | 1 | 1 | 3120 | 3200 | 200 | 20x10 | [9 empty] | Yes | No | Partition
|  | 1.9.1 | Corridor COCL1A | Conference 1A102 | Wall 2W6, door A102A,A102B | [8 empty] | 1 | 1 | 4495 | 5670 | 315 | 31.5x10 | [8 empty] | wall type 2W6 with Door A102,A102B | Yes | No | Partition
|  | 1.10.1 | Pat Toilet 1A111 | Male Toilet 1A117 | Wall 3 | 400hz tone through HVAC duct diffuser flanking path into male toilet | [7 empty] | 1 | 1 | 700 | 1980 | 110 | 11x10 | [9 empty] | Yes | No | Partition
|  | 1.11.1 | Reception 1A135A/COC1A | Group 1A143 | Wall 2 | Entry door to group room no threshold flanking path. | ASTC 36 NIC 39 |  |  |  | E_223 | E_222 |  | 1 | 1 | 9000 | 3100 | 140 | 14x10 | [9 empty] | Yes | No | Partition
|  | 1.11.2 | Reception 1A135A/COC1A | Group 1A143 | Wall 2 |  | ASTC 50 NIC 54
|  | 1.12.1 | CT scanning 1J109 | Photograph 1I110 | Wall 2 |  | NIC 46 | [6 empty] | 1 | 1 | 5500 | 1210 | 100 | 10x10 | [9 empty] | Yes | No | Partition
|  | 1.13.1 | Gen.Radiology 1J114 | Reading Room 1J115 | Wall 3L4 | no door thresholds, flank, act vent | NIC 43 | [6 empty] | 1 | 1 | 3160 | 1530 | 167.5 | 16.75x10 | [9 empty] | Yes | No | Partition
|  | 1.14.1 | Mail 1S172 | Form/Processed 1S176A | Wall 9 | [8 empty] | 1 | 1 | 1010 | 1510 | 90 | 9x10 | [9 empty] | Yes | No | Partition
|  | 1.15.1 | Consult Room 1L101 | Consult Room 1L103 | Wall 2 |  | NIC 40 | [6 empty] | 1 | 1 | 1320 | 1310 | 110 | 11x10 | [9 empty] | Yes | No | Partition
|  | 1.16.1 | Corridor CL1B | Pharmacy 1L105 | Wall 6 |  | ASTC 43 NIC 44 | [6 empty] | 1 | 1 | 2400 | 4380 | 240 | 24x10 | [9 empty] | Yes | No | Partition
|  | 1.17.1 | Corridor N | Mulipurpose staff room | Wall 2 |  | ASTC 20 NIC 23 | [6 empty] | 1 | 1 | 1260 | 2880 | 110 | 11x10 | [9 empty] | Yes | No | Partition

## Table 2
Area | Area Label | Test Label | Source Room | Receiving Room | Partition Type | Design STC | Test Date | Report Date | Source | Recieve | BNL | RT | ASTC | NIC | source room vol | receive room vol | partition area | partition dim | source room finish | srs_floor | srs_ceiling | srs_Walls | receive room finish | rec_floor | rec_ceiling | rec_Wall | tested assembly | expected performance | Annex 2 used? | Test assembly Type
|  | 2.1.1 | corridor M251 | open office M231 | Door/Wall |  |  |  | D667 | E164 | E163 | E0000 |  | 1 | 292.3012 | 94736 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass
|  | 2.1.10 | M237 | M236 | Wall 1c |  | 2023-04-25 |  | E642 | E120 | E118 | E094 |  | 1 | 94736 | 2657.473 | 227.9136 | 22.417x10.167 | finished, unfurnished
|  | 2.1.2 | corridor | opm office M230 | Door/Wall |  | 2023-04-26 |  | D665 | E159 | E157 | E0000 |  | 1 | 292.3012 | 94736 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | [7 empty] | Partition with Door
|  | 2.1.3 | corridor M251 | meeting M232 | Wall 1c |  | 2023-04-26 |  | D666 | E162 | E161 | E095 |  | 0 | 1252.0432 | 4403.9163 | 215.9476 | 21.417x10.083 | finished, unfurnished | concrete | concrete | gypsum, glass | [7 empty] | Partition
|  | 2.1.4 | Open office | M232 | Wall 1c |  |  |  | D639 | E116 | E113 | E095 |  | 1 | 94736 | 4403.9163 | 215.9476 | 21.417x10.083 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.1.5 | Open office | M232 | Wall 1c |  |  |  | D638 | E115 | E113 | E095 |  | 1 | 94736 | 4403.9163 | 209.2223 | 20.75x10.083 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.1.6 | Open office | M232 | Wall 1c |  |  |  | E637 | E114 | E113 | E095 |  | 1 | 94736 | 4403.9163 | 215.9476 | 21.417x10.083 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.1.7 | M230 | M236 | Door/Wall |  | 2023-04-25 |  | D641 | E119 | E118 | E094 |  | 1 | 94736 | 2657.473 | 118.5472 | 11.66 x 10.167 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished | [6 empty] | Partition with Door
|  | 2.1.8 | M2235 | M236 | Wall 1c |  | 2023-04-25 |  | D640 | E117 | E118 | E094 |  | 1 | 94736 | 2657.473 | 227.9136 | 22.417x10.167 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.1.9 | M231B | M236 | Wall 1c |  | 2023-04-25 |  | D643 | E121 | E118 | E094 |  | 1 | 94736 | 2657.473 | 118.5472 | 11.66 x 10.167 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished
|  | 2.2.1 | Office 231B | JTF office M241 | Wall 1c |  | 2023-04-25 |  | D649 | E132 | E131 | E096 |  | 1 | 94736 | 2085.151 | 128.9758 | 12.583x10.25 | finished, unfurnished | carpet | gypsum | gypsum | finished, unfurnished | [6 empty] | Partition
|  | 2.2.10 | JTF office M240 | JTF office M241 | Door |  | 2023-04-25 |  | D650 | E133 | E131 | E0000 |  | 1 | 4334.4992 | 2085.151 | 38 | 4.833x7.833 | finished, unfurnished |  |  |  | finished, unfurnished
|  | 2.2.11 | M-250 | M-240 | Wall |  | 2023-05-01 |  | D679 | E188 | E187 | E100 |  | 0 | 1105.8925 | 4170.6017 | 139.2258 | 13.583x10.25 | finished, unfurnished |  |  |  | finished, unfurnished | [6 empty] | Partition
|  | 2.2.2 | Office 231B | kitchen M240b | Wall |  | 2023-04-25 |  | D648 | E130 | E128 | E096 |  | 1 | 94736 | 4170.6017 | 57.2258 | 5.583x10.25 | finished, unfurnished |  | gypsum |  | finished, unfurnished | VBT | gypsum | gypsum | Wall Type 1c |  |  | Partition
|  | 2.2.3 | kitchen 237B | kitchen M240b | Wall 1c |  | 2023-04-25 |  | D647 | E129 | E128 | E096 |  | 0 | 94736 | 4170.6017 | 102.5 | 10x10.25 | finished, unfurnished |  | gypsum |  | finished, unfurnished | VBT | gypsum | gypsum | Wall Type 1c |  |  | Partition
|  | 2.2.4 | fan room M268 | kitchen M237B | Wall 1b |  | 2023-04-25 |  | D646 | E126 | E125 |  |  | 1 | 2479.2188 | 94736 | 121.2883 | 11.833x10.25 | finished, unfurnished | concrete | gypsum | gypsum | finished, unfurnished | VBT | gypsum | gypsum | Wall Type 1c |  |  | Partition
|  | 2.2.5 | fan room M268 | telecom storage M237a | Wall 1b |  | 2023-04-25 |  | D645 | E127 | E124 |  |  | 1 | 2479.2188 | 752.5334 | 93.1008 | 9.083x10.25 | finished, unfurnished | concrete | gypsum | gypsum | [7 empty] | Partition
|  | 2.2.7 | office M230 | mtg M238 | Door |  | 2023-04-25 |  | D644 | E123 | E122 | ? |  | 1 | 94736 | 2150.102 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.2.8 | corridor M250 | mtg M238 | Wall 1c |  | 2023-04-26 |  | D668 | E166 | E165 |  |  | 1 | 1417.6611 | 2150.102 | 194 | 24.25x8 | finished, unfurnished | concrete | [9 empty] | Partition
|  | 2.2.9 | corridor M250 | control room M238a | Wall 1c |  | 2023-04-26 |  | D669 | E168 | E167 | ? |  | 0 | 647.915 | 2150.102 | 88.664 | 11.083x8 | finished, unfurnished | concrete | [9 empty] | Partition
|  | 2.3.1 | CIDSS Team M211 | command breifing room M210 | Wall |  | 2023-04-19 | 2023-05-10 | D625 | E097 | E096 | E090 | 0 | 1 | 9813 | 7235 | 219 | 7.833x28 | finished, fully furnished | carpet | gypsum | gypsum | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.10 |  | IPM201 | Wall |  | 2023-04-19 |  | D108 | E108 | E106 | E092 |  |  |  | 8768.3709
|  | 2.3.2 | corridor M252 | command breifing room M210 | Door M210 |  | 2023-04-19 | 2023-05-10 | D634 | E110 | E096 | E090 | 0 | 1 | 2343.6759 | 7235 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition with Door
|  | 2.3.3 | corridor M252 | command breifing room M210 | Wall |  | 2023-04-19 | 2023-05-10 | D633 | E109 | E096 | E090 | 0 | 1 | 2343.6759 | 7235 | 185 | 23.66x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.4 | M262 | command breifing room M210 | Wall |  | 2023-04-19 | 2023-05-10 | D627 | E100 | E096 | E090 |  | 1 | 2112.5501 | 7235 | 150 | 14.75x10.167 | finished, unfurnished | concrete | concrete | wood | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.5 | M262 | cbr staging M209 | Wall |  | 2023-04-19 | 2023-05-10 | D628 | E102 | E101 | E091 |  |  | 2112.5501 | 1685 | 147 | 14.5x10.167 | finished, unfurnished | concrete | concrete | wood | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.6 | corridor M250 | M209 | Door/Wall |  | 2023-04-26 | 2023-05-10 | D662 | E156 | E155 | E0000 |  | 1 | 1685 | 1685 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete and ducting | gypsum, glass | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition with Door
|  | 2.3.7 | telecom M261 | cbr staging M209 | Wall |  | 2023-04-19 | 2023-05-10 | D629 | E103 | E101 | E091 |  |  | 1498.8344 | 1685 | 147 | 14.5x10.167 | finished, unfurnished | concrete | gypsum, concrete | wood | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.3.8 | cbr staging area M209 | command breifing room M210 | door |  | 2023-04-26 | 2023-05-10 | D661 | E154 | E153 | E0000 |  | 1 | 1685 | 7235 | 38 | 4.833x7.833 | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | finished, fully furnished | carpet | gypsum, ACT in center | gypsum | Wall Type 1c | Yes | No | Partition with Door
|  | 2.3.9 | telecom M261 | M210a | Wall |  | 2023-04-19 |  | D630 | E105 | E104 |  |  |  | 1498.8344 | 7235.7338 | 71.0751 | 7.167x9.917 | finished, unfurnished
|  | 2.4.1 | Corridor M251 | M204 | Door/Wall |  | 2023-05-01 |  | D674 | E178 | E177 | E0000 |  | 1 | 292.3012 | 21759.3913 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | [7 empty] | Partition with Door
|  | 2.4.2 | Corridor M-251 | M204 | Wall (2 section) |  | 2023-05-01 |  | D675 | E180 | E179 | E0000 |  | 1 | 3902.2217 | 21759.3913 | 678.6472 | 66.75x10.167 | finished, unfurnished | concrete | concrete | gypsum, glass
|  | 2.4.3 | Corridor M-251 | M204 | Wall |  | 2023-05-01 |  | D676 | E182 | E181 | E0000 |  | 1 | 1874.4045 | 21759.3913 | 325.9834 | 32.33x10.083 | finished, unfurnished | concrete | concrete | gypsum, glass
|  | 2.4.5 | CIDSS Team M211 | office M205A | Wall 1b |  | 2023-04-26 |  | D660 | E152 | E151 | E0000 |  | 1 | 9813 | 21759.3913 | 278.1194 | 27.583x10.083 | finished, furnished | carpet | gypsum | gypsum, glass | finished, unfurnished | carpet | gypsum | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.4.7 | M-204 | M-207 | Door |  | 2023-05-01 |  | D673 | D176 | E175 | E0000 |  | 1 | 21759.3913 | 3861.3685 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.5.1 | Storage M211a | office M203 | Wall 1c |  | 2023-04-26 |  | D658 | E148 | E147 | E097 | 1 | 0 | 2888.02 | 2251.1987 | 187.5999 | 18.917x9.917 | finished, unfurnished
|  | 2.5.10 | Corridor M-250 | M200 | Door/Wall |  | 2023-05-01 |  | D677 | E184 | E183 | E0000 | 0 | 1 | 292.3012 | 2168.6365 | 38 | 4.833x7.833 | finished, unfurnished | concrete | concrete | gypsum, glass | [7 empty] | Partition with Door
|  | 2.5.11.0 | M200 | M202 | Door only |  | 2023-04-25 |  | D652 | E135 | E134 | E0000 |  | 1 | 2168.6365 | 2546.4264 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.5.11.1 | M202 | M200 | Door only |  | 2023-05-01 |  | D672 | E174 | E173 | E0000 | 0 | 1 | 2546.4264 | 2168.6365 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.5.12 | M202 | IPM201 | Door M201 |  | 2023-05-01 |  | D671 | E172 | E171 | E0000 | 0 | 1 | 2546.4264 | 8768.3709 | 38 | 4.833x7.833 | finished, unfurnished | [10 empty] | Partition with Door
|  | 2.5.2 | Storage M211a | IP M201 | Wall 1b |  | 2023-04-26 |  | D659 | E150 | E149 | E0000 | 0 | 1 | 2888.02 | 8768.3709 | 185 | 18.5x10 | finished, unfurnished
|  | 2.5.3 | M210a | IPM201 | Wall |  | 2023-04-19 | 2023-05-10 | D632 | E108 | E106 | E092 | 0 | 1 | 1309.7845 | 8768.3709 | 184 | 18.583x9.917 | finished, fully furnished | concrete | concrete | plywood | finished, unfurnished | carpet | gypsum | gypsum | Wall Type 1c | Yes | No | Partition
|  | 2.5.4.1 | Office M203 | IPM201 | Door only |  | 2023-05-01 |  | D670 | E170 | E169 | E0000 |  | 1 | 2251.1987 | 8768.3709 | 38 | 4.833x7.833 | finished, unfurnished
|  | 2.5.6 | M207 | M201A | Wall |  | 2023-04-25 |  | D655 | E141 | E139 |  | 0 | 1 | 3861.3685 | 8768.3709 | 73.5544 | 7.417x9.917 | finished, unfurnished |  |  |  | finished, unfurnished | carpet
|  | 2.5.7 | M201 | Meeting M202 | Wall 1c |  | 2023-04-25 |  | D654 | E138 | E136 | E098 |  |  | 8768.3709 | 2546.4264 | 175.6156 | 17.417x10.083 | finished, unfurnished |  |  |  | finished, unfurnished | carpet
|  | 2.5.9 | Corridor M-250 | M200 | Wall |  | 2023-05-01 |  | D678 | E186 | E185 |  | 0 | 1 | 867.1409 | 2168.6365 | 149.5611 | 14.833x10.083 | finished, unfurnished | concrete | concrete | gypsum, glass | finished, unfurnished | carpet |  |  |  | Yes

## Table 1
Area | Area Label | Test Label | Source Room | Receiving Room | Partition Type | Design STC | Test Date | Test Report by | Source | Recieve | BNL | RT | ASTC? | NIC? | source room vol | receive room vol | partition area
|  | 0.1.1 | [6 empty] | D600 | E042 | E041 | E072 | 0 | 1
2nd Floor Room M326 | 2 | 2.1.0 | Future/M-350 | M-326 | Wall: 1c | 50 | Monday, 1/23, 13:00-16:00 | JP | D564 | E601 | E602 | E072 | 0 | 1 | 285.4338 | 342.5206 | 15.6077
|  | 2.2.0 | M-350 | M-326 | Door: [M-326B] | 50 |  | JP | D555 | E590 | E588 | E072 |  |  | 127.086 | 342.52 | 1.7651
|  | 2.3.0 | M-350 | M-326 | Wall: 1c | 50 |  | JP | D556 | E592 | E591 | E072 |  |  | 127.086 | 342.52 | 63.174
|  | 2.4.0 | M-320 | M-326 | Door: [M-326B] | 50 |  | JP | D549 | E579 | E578 | E072 |  |  | 127.086 | 342.52 | 1.7651
|  | 2.5.0 | M-350 | M-326 | Wall+Door: S5, [M-325] | 50, 50 |  | JP | D557 | E594 | E593 | E072 |  |  | 61.1643 | 186.89 | 7.15
2nd Floor various areas | 3 | 3.1 | Mechanical Room | M-320 | Wall: 1d, Telecom Chase | 50 | Monday, 1/23, 16:00-21:00 | JP
|  | 3.2 | Unfinished Attic | M-320 | Wall+Door: 1d, [M-320A] | 50 |  | JP
|  | 3.3 | Unfinished Attic | M-321 | Wall: 1c | 50 |  | JP
|  | 3.4 | M-320 | M-321 | Door: [M-321] | 45 |  | JP
|  | 3.5 | M-320 | M-322 | Door: [M-322] | 45 |  | JP
2nd Floor SCIF room M324/M325 | 1 | 1.1 | M-220 | M-324/M-325 | Wall: S5 | 50 | Tuesday, 1/24, 16:00-22:00 | JP | D564 | E601 | E602 | E074
|  | 1.2 | M-326 | M-324/M-325 | Wall: S2 | 50 |  | JP | D569 | E611 | E610 | E074
|  | 1.3 | M-320 | M-324/M-325 | Wall+Door: S5, [M-325] | 50, 50 |  | JP | D567 | E608 | E607
|  | 1.3a | M-320 | M-324/M-325 | Wall+Door: S5, [M-325] | 50, 50 |  | JP | D590 | E647 | E646 | E074 | 0 | 1
|  | 1.4 | M-324/M-325 | M-323 | Wall: S5 | 50 |  | JP | D565 | E604 | E603 | E072
|  | 1.5 | M-324/M-325 | M-322 | Wall: S5 | 50 |  | JP | D566 | E606 | E605 | E071
|  | 1.6 | M-320 | M-324/M-325 | Door: [M-325] | 50 |  | JP | D566 | E606 | E605 | E071
|  | 1.6a | M-320 | M-324/M-325 | Door: [M-325] | 50 |  | JP | D591 | E648 | E646 | E071
1st Floor Kitchenette areas | 4 | 4.1 | M-252 | M-220B | Wall+Door: 1c, [M-220A] | 50, 50 | Wednesday, 1/25, 16:00-20:00 | ZW
|  | 4.2 | M-252 | M-220B | Wall: 1c | 50 |  | ZW
|  | 4.3 | M-220 | M-220B | Door: [M-320B] | 45 |  | ZW
|  | 4.4 | M-220 | M-225A | Door: [M-225A] | 45 |  | ZW
1st floor Glass Conf Room M-226 | 5 | 5.1 | M-220 | M-226 | Door: [M-226] | 50 | Wednesday, 1/25, 20:00-22:00 | ZW
|  | 5.2 | M-226 | M-264 | Wall: 1c | 50 |  | ZW
|  | 5.3 | M-226 | M-263 | Wall: 1c | 50 |  | ZW
|  | 5.4 | M-226 | M-252 | Wall: 1c | 50 |  | ZW
|  | 5.5 | M-225 | M-220 | Door: [M-???] | 45 |  | ZW
1st floor Meeting rooms M-223/M-224 | 6 | 6.1 | M-220 | M-220D | Wall+Door: 1c, [M-220F] | 50, 50 | Thursday, 1/26, 16:00-18:00 | ZW
|  | 6.2 | M-223 | M-220D | Wall: 1c | 50 |  | ZW
|  | 6.3 | M-250 | M-223 | Wall: 1c | 50 |  | ZW
|  | 6.4 | M-250 | M-224 | Wall: 1c | 50 |  | ZW
1st floor Video Wall | 7 | 7.1 | M-220 | M-238 | Wall: 1c | 50 | Thursday, 1/26, 18:00-20:00 | ZW
|  | 7.2 | M-220 | M-230B | Door: [M-230A] | 50 |  | ZW
|  | 7.3 | M-220 | M-230 | Wall: 1c | 50 |  | ZW
1st floor Meeting rooms M-222/M-221 | 8 | 8.1 | M-220 | M220C | Wall+Door: 1c, [M-220G] | 50, 50 | Thursday, 1/26, 20:00-22:00 | ZW
|  | 8.2 | M-221 | M220C | Wall: 1c | 50 |  | ZW
|  | 8.3 | M-251 | M-221 | Wall: 1c | 50 |  | ZW
|  | 8.4 | M-251 | M-222 | Wall: 1c | 50 |  | ZW

## UpdatedTable 2bak
Area | Area Label | Test Label | Source Room | Receiving Room | Partition Type | Design STC | Test Date | Report Date | Source | Recieve | BNL | RT | ASTC | NIC | source room vol | receive room vol | partition area | partition dim | source room finish | srs_floor | srs_ceiling | srs_Walls | receive room finish | rec_floor | rec_ceiling | rec_Wall | tested assembly | expected performance | Annex 2 used? | Test assembly Type
|  | 1.1.1 | 1Q110 | 1Q109 | Wall 2 |  |  |  | D706 | E255 | E254 | E0000 | 0 | 1 | 1290 | 1210 | 120 | 12x9 |  | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.2.1 | 1S169A Plumb | Corridor COS1 | Wall 7 |  |  |  | D696 | E237 | E236 | E0000 | 0 | 1 | 7110 | 52440 | 250 | 25x15.25 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.3.1 | Audiometric ex. 1H107 | Aud. Exam. 1H105 | Wall 2 |  |  |  | D698 | E241 | E240 | E0000 | 0 | 1 | 3040 | 3040 | 120 | 12x10 |  | LVT | ACT | gyp | finished unfurnished |  |  |  |  | Yes | No | Partition
|  | 1.4.1 | Spec. Exam 1G114 | Spec. Exam 1G108 | Wall 2 |  |  |  | D697 | E239 | E238 | E133 | 1 | 1 | 2466 | 2466 | 108 | 12x9 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.5.1 | Cooridor COF | Exam 1F105 | Wall 1 with door F105 |  |  |  | D701 | E245 | E244 | E0000 | 0 | 1 | 1200 | 2070 | 100 | 10*10 |  |  |  | gyp |  |  |  |  | Wall type 1 with Door F105 | Yes | No | Partition with Door
|  | 1.6.1 | Exam 1F103 | Telehealth Exam 1F101 | Wall 2 |  |  |  | D700 | E243 | E242 | E0000 | 0 | 1 | 1220 | 1780 | 120 | 12*10 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.7.1 | Counsel 1B101 | Counsel 1B103 | Wall 2 |  |  |  | D705 | E253 | E252 | E0000 | 0 | 1 | 1200 | 1360 | 120 | 12x9 | finished unfurnished | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.8.1 | Group Room 1A103 | Group 1A101 | Wall 2 |  |  |  | D703 | E249 | E248 | E134 | 1 | 1 | 3120 | 3200 | 200 | 20x10 | finished unfurnished | carpet |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.9.1 | Conference 1A102 | Corridor COCL1A | Wall 2W6, door A102A,A102B |  |  |  | D704 | E251 | E250 | E135 | 1 | 1 | 11907 | 9439.5 | 315 | 31.5x21 | finishedm unfurnished | carpet | ACT | gyp | finished furnished | tile | gyp, wood | gyp | wall type 2W6 with Door A102,A102B | Yes | No | Partition
|  | 1.10.1 | Pat Toilet 1A111 | Male Toilet 1A117 | Wall 3 |  |  |  | D702 | E247 | E246 | E0000 | 0 | 1 | 630 | 1980 | 110 | 11x10 | finished furnished | tile | tile | gyp | finished furnished | tile | tile | gyp |  | Yes | No | Partition
|  | 1.11.1 | Reception | Group 1A143 | Wall 2 |  |  |  | D689 | E223 | E222 | E130 | 1 | 1 | 8100 | 6000 | 140 | 14x10 | finished unfurnished | carpet | ACT | gyp | finished unfurnished | LVT | ACT | gyp | wall type 2 | Yes | No | Partition
|  | 1.11.2 | Council 1A141 | Group 1A143 | Wall 2 |  |  |  | D690 | E224 | E222 | E130 | 1 | 1 | 1125 | 6246 | 140 | 14x10 | finished unfurnished | carpet | ACT | gyp | finished unfurnished | LVT | ACT | gyp | wall type 2 | Yes | No | Partition
|  | 1.12.1 | CT scanning 1J109 | Photograph 1I110 | Wall 2 |  |  |  | D691 | E226 | E225 | E0000 | 0 | 1 | 5500 | 1210 | 100 | 10x10 | finished unfurnished | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.13.1 | Gen.Radiology 1J114 | Reading Room 1J115 | Wall 3L4 |  |  |  | D692 | E228 | E227 | E0000 | 0 | 1 | 2948.28 | 1377 | 167.5 | 16.75x9.33 | finished unfurnished | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.14.1 | Mail 1S172 | Form/Processed 1S176A | Wall 9 | [7 empty] | 0 | 1 | 1010 | 1510 | 90 | 9x9 | [9 empty] | Yes | No | Partition
|  | 1.15.1 | Consult Room 1L101 | Consult Room 1L103 | Wall 2 |  |  |  | D693 | E230 | E229 | E0000 | 0 | 1 | 1320 | 1310 | 110 | 11x9 | finished unfurnished | LVT | ACT | gyp | finished unfurnished | LVT | ACT | gyp |  | Yes | No | Partition
|  | 1.16.1 | Corridor CL1B | Pharmacy 1L105 | Wall 6 |  |  |  | D694 | E233 | E231 | E131 | 1 | 1 | 2160 | 3942 | 216 | 24x9 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.17.1 | Corridor N | Mulipurpose staff room | Wall 2 |  |  |  | D695 | E234 | E235 | E132 | 1 | 1 | 1260 | 2880 | 110 | 11x10 |  |  |  | gyp | [5 empty] | Yes | No | Partition
|  | 1.17.2 | Corridor N | Mulipurpose staff room | Wall 2 |  |  |  | D707 | E257 | E256 | E132 | 1 | 1 | 1260 | 2880 | 110 | 11x10 |  |  |  | gyp | [5 empty] | Yes | No | Partition