## Summary
Summary
File Name on Meter | 831_Data.028.s
File Name on PC | 831_0002237-20240404 135527-831_Data.028.ldbin
Serial Number | 2237
Model | Model 831
Firmware Version | 2.403
User
Location
Job Description
Note
Measurement
Description
Latitude | GPS Not Synchronized
Longitude | GPS Not Synchronized
Elevation | GPS Not Synchronized
Start | 2024-04-04 13:55
Stop | Invalid
Duration | No Duration
Run Time | No Run Time
Pause | 0:00
Pre-Calibration | 2021-06-30 13:52
Post-Calibration | 2024-04-04 13:55
Calibration Deviation | 0.17 | dB
Overall Settings
RMS Weight | A Weighting
Peak Weight | Z Weighting
Detector | Slow
Preamplifier | PRM831
Microphone Correction | Off
Integration Method | Linear
OBA Range | Normal
OBA Bandwidth | 1/1 and 1/3
OBA Frequency Weighting | Z Weighting
OBA Max Spectrum | Bin Max
Gain | 0 | dB
Overload | 144.4 | dB
| A | C | Z
Under Range Peak | 76.8 | 73.8 | 78.8 | dB
Under Range Limit | 26.6 | 27 | 32.8 | dB
Noise Floor | 17.4 | 17.9 | 23.3 | dB
| First | Second | Third
Instrument Identification
Results
LAeq | -99.94 | dB
LAE | -99.94 | dB
EA | 0 | µPa²h
LZpeak (max) | 1970-01-01 | -99.94 | dB
LASmax | 1970-01-01 | -99.94 | dB
LASmin | 1970-01-01 | -99.94 | dB
SEA | -99.94 | dB
| Exceedance Counts | Duration
LAS > 75.0 dB | 0 | 0 | s
LAS > 85.0 dB | 0 | 0 | s
LZpeak > 135.0 dB | 0 | 0 | s
LZpeak > 137.0 dB | 0 | 0 | s
LZpeak > 140.0 dB | 0 | 0 | s
Community Noise | Ldn | LDay 07:00-22:00 | LNight 22:00-07:00 | Lden | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | dB
LCeq | -99.94 | dB
LAeq | -99.94 | dB
LCeq - LAeq | 0 | dB
LAIeq | -99.94 | dB
LAeq | -99.94 | dB
LAIeq - LAeq | 0 | dB
| A |  | C |  | Z
| dB | Time Stamp | dB | Time Stamp | dB | Time Stamp
Overload Count | 0
Overload Duration | 0 | s
OBA Overload Count | 0
OBA Overload Duration | 0 | s
Statistics
LA 1.00 | -99.94 | dB
LA 10.00 | -99.94 | dB
LA 33.30 | -99.94 | dB
LA 50.00 | -99.94 | dB
LA 66.60 | -99.94 | dB
LA 90.00 | -99.94 | dB
Calibration History
Preamp | Date | dB re. 1V/Pa |  | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
PRM831 | 2021-06-30 13:52 | -26.0123 |  | 101.6998 | 88.7847 | 61.9901 | 52.3875 | 50.8043 | 50.9169 | 47.0562 | 53.4509 | 49.0589 | 45.172 | 42.1118 | 45.4395 | 37.8585 | 43.5053 | 35.6678 | 32.5725 | 29.6327 | 35.504 | 31.6591 | 31.9192 | 27.3803 | 26.4237 | 94.0011 | 30.9887 | 28.5062 | 34.6173 | 30.5416 | 53.9856 | 32.9633 | 34.0172 | 35.401 | 36.4554 | 37.4627 | 38.4071 | 39.4062 | 41.3088
PRM831 | 2024-04-04 14:17 | -26.8642 |  | 106.2598 | 120.267 | 89.6163 | 77.3283 | 74.5715 | 52.0071 | 48.9675 | 51.8837 | 49.6644 | 44.5187 | 47.5113 | 43.0605 | 44.6134 | 46.3108 | 48.428 | 44.8052 | 46.4509 | 48.4592 | 49.3426 | 42.3307 | 30.4761 | 27.8788 | 93.9182 | 31.4353 | 28.2623 | 39.8401 | 30.4246 | 39.6645 | 32.4365 | 33.8331 | 35.1097 | 36.2459 | 37.6032 | 38.3031 | 39.3901 | 41.1559
PRM831 | 2024-04-04 14:17 | -26.8111 |  | 59.3139 | 61.363 | 53.5712 | 50.5216 | 57.1203 | 48.544 | 44.623 | 45.7264 | 40.3113 | 47.8638 | 42.6563 | 42.1357 | 39.0763 | 38.0775 | 36.7394 | 41.6317 | 38.9127 | 32.9228 | 30.1652 | 27.6559 | 26.3247 | 25.8069 | 93.6869 | 31.079 | 28.2588 | 39.4933 | 30.8965 | 39.7271 | 32.8663 | 33.7364 | 34.5663 | 36.0394 | 37.1099 | 37.9684 | 39.0361 | 40.6892
PRM831 | 2024-04-04 14:16 | -26.5262 |  | 67.7008 | 76.2962 | 77.8986 | 77.2912 | 72.2079 | 77.4371 | 62.316 | 61.1216 | 57.1987 | 49.8211 | 45.2937 | 51.4645 | 60.7684 | 63.9345 | 49.2996 | 59.6601 | 61.6369 | 64.4413 | 66.6853 | 69.9734 | 64.2909 | 48.5303 | 94.2962 | 38.957 | 38.8852 | 40.1142 | 30.769 | 39.5851 | 32.9238 | 34.0789 | 35.0245 | 36.5465 | 37.1249 | 38.3345 | 39.8376 | 41.071
PRM831 | 2024-04-04 13:55 | -26.923 |  | 85.5411 | 97.5206 | 100.398 | 94.1252 | 84.637 | 59.3251 | 53.2851 | 48.3036 | 47.1292 | 45.4785 | 47.746 | 42.9438 | 54.4221 | 43.6013 | 48.5755 | 52.3965 | 40.8585 | 45.7807 | 46.2246 | 44.637 | 33.909 | 28.3056 | 94.151 | 31.82 | 28.8479 | 40.2884 | 30.6414 | 39.9663 | 32.8608 | 33.9038 | 35.2263 | 36.4548 | 38.0778 | 38.6792 | 39.4195 | 41.3757
PRM831 | 2023-07-07 15:56 | -27.0964 |  | 63.5533 | 55.8231 | 56.679 | 59.6292 | 57.2018 | 57.252 | 69.8678 | 52.338 | 61.6027 | 63.6178 | 60.6566 | 63.2614 | 53.5933 | 52.5668 | 51.0859 | 55.5147 | 60.7453 | 52.0977 | 53.9198 | 52.1646 | 48.301 | 37.9172 | 93.7802 | 32.7488 | 30.934 | 35.1821 | 31.6887 | 53.7034 | 33.0168 | 34.7025 | 35.0013 | 36.6616 | 37.5438 | 38.3191 | 39.6218 | 41.2428
PRM831 | 2023-07-07 09:07 | -26.9213 |  | 82.5029 | 81.2318 | 60.631 | 56.6646 | 58.0803 | 47.7862 | 50.1568 | 65.4707 | 52.4393 | 60.4009 | 60.2578 | 48.6077 | 51.5441 | 44.9188 | 38.8166 | 41.9915 | 41.1105 | 39.7137 | 37.7512 | 37.2589 | 33.5488 | 29.2776 | 94.0097 | 32.1382 | 29.2657 | 34.557 | 31.0097 | 54.0064 | 32.7867 | 34.813 | 35.0929 | 36.5411 | 37.4543 | 38.7898 | 39.6171 | 41.2204
PRM831 | 2023-07-07 07:49 | -26.9725 |  | 64.985 | 68.1189 | 68.7764 | 62.8262 | 56.9724 | 65.8514 | 56.6882 | 56.3034 | 52.2743 | 51.9997 | 52.9568 | 50.6816 | 51.1079 | 48.5014 | 46.0536 | 44.5792 | 45.3001 | 43.2702 | 48.8142 | 46.305 | 40.8777 | 35.311 | 93.6407 | 31.5647 | 29.1813 | 34.6993 | 30.5878 | 53.6535 | 32.1573 | 34.4593 | 34.7043 | 36.1497 | 36.8362 | 38.3414 | 39.5669 | 40.8306
PRM831 | 2023-07-06 17:02 | -26.6438 |  | 80.5667 | 90.9447 | 66.9683 | 53.6736 | 53.462 | 56.3028 | 49.4826 | 49.5817 | 47.9748 | 48.3012 | 47.4164 | 42.3578 | 44.8782 | 36.7937 | 33.5073 | 31.2162 | 37.1138 | 35.5908 | 31.8546 | 34.3432 | 32.6705 | 28.6288 | 94.3983 | 32.2007 | 29.3414 | 34.7506 | 30.8463 | 54.1248 | 32.879 | 34.4094 | 35.6903 | 36.6246 | 37.5452 | 38.993 | 39.6641 | 41.3888
PRM831 | 2023-07-06 15:57 | -27.0845 |  | 98.2618 | 76.6588 | 64.625 | 66.893 | 67.5576 | 66.0832 | 64.9827 | 59.9842 | 63.9639 | 49.6057 | 52.2377 | 47.5996 | 50.6101 | 46.1482 | 41.7941 | 48.3492 | 46.8639 | 42.8141 | 44.1187 | 40.8831 | 41.9149 | 36.7789 | 93.7874 | 32.2701 | 29.3169 | 34.2069 | 30.7613 | 53.7858 | 32.9787 | 34.8638 | 35.463 | 36.0069 | 37.3665 | 38.3681 | 39.4504 | 41.1485
PRM831 | 2023-07-06 09:03 | -26.9019 |  | 86.8037 | 87.6249 | 70.3485 | 57.0741 | 44.7017 | 49.0528 | 43.868 | 44.1678 | 47.3269 | 57.3875 | 54.6814 | 40.8378 | 64.1026 | 33.1814 | 29.0093 | 48.1637 | 45.9616 | 55.2152 | 51.0683 | 46.5074 | 40.1951 | 28.3455 | 94.0845 | 31.7587 | 29.6594 | 35.0204 | 31.3469 | 54.0966 | 32.957 | 34.4683 | 35.1976 | 36.4606 | 37.49 | 38.6975 | 39.2973 | 41.1825
PRM831 | 2023-07-06 07:57 | -27.0204 |  | 86.6151 | 85.1621 | 67.5595 | 58.0892 | 50.5112 | 51.0671 | 56.8195 | 54.7545 | 55.9769 | 46.7213 | 47.8992 | 46.2256 | 47.8393 | 42.0496 | 42.7836 | 44.0413 | 42.2526 | 44.0723 | 48.4364 | 49.6309 | 45.5154 | 35.9584 | 93.9127 | 32.2108 | 29.0367 | 34.7461 | 31.4008 | 53.9692 | 32.9111 | 34.6029 | 34.8925 | 36.0253 | 37.3261 | 38.3562 | 39.4023 | 41.155

## OBA
1/1 Octave
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Overall 1/1 Spectra | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
Max 1/1 Spectra | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
Min 1/1 Spectra | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Overall 1/3 Spectra | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
Max 1/3 Spectra | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
Min 1/3 Spectra | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
L(20-200Hz) | -99.94
LZS1.00 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
LZS10.00 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
LZS33.30 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
LZS50.00 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
LZS66.60 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
LZS90.00 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94 | -99.94
1/1 OBA Ref. Spectra
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/3 OBA Ref. Spectra
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/1 OBA Under Range
Frequency (Hz) | 8.0 | 16.0 | 31.5 | 63.0 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Under Range Limit | 62.7 | 55.8 | 53.8 | 48.8 | 45.8 | 46.8 | 50.8 | 45.9 | 48.9 | 50.8 | 52.8 | 55.8
Noise Floor | 32.7 | 32.7 | 31.2 | 30.3 | 31.9 | 31.9 | 34.3 | 32.6 | 34.5 | 37.6 | 41.1 | 44.4
1/3 OBA Under Range
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | 52.8 | 49.8 | 48.8 | 49.8 | 49.8 | 48.8 | 46.8 | 47.8 | 47.8 | 45.8 | 43.8 | 42.8 | 43.8 | 44.8 | 40.8 | 41.8 | 41.8 | 39.8 | 43.8 | 42.8 | 39.9 | 40.9 | 43.8 | 41.8 | 40.8 | 40.8 | 41.8 | 44.8 | 43.9 | 45.9 | 47.8 | 49.8 | 48.9 | 49.9 | 50.8 | 52.8
Noise Floor | 28.4 | 27.5 | 29.2 | 29 | 26.3 | 28.5 | 26.5 | 27.3 | 26.5 | 26 | 26.5 | 26.6 | 25.8 | 25.4 | 26 | 26.4 | 28.5 | 27.3 | 26.8 | 26.7 | 26.7 | 27.4 | 27.8 | 28.7 | 29.2 | 29.7 | 30.7 | 31.8 | 32.8 | 34 | 34.7 | 36.3 | 37.4 | 38.4 | 39.4 | 41

## Spectral Statistics
dB | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Over | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Session Log
Record # | Date | Time | Record Type | Cause | # | TH Record | Sound Record
1 | 2024-04-04 13:55 | 45386.5802 | Calibration Change | Key | 0.17 dB | 1
2 | 2024-04-04 14:16 | 45386.5947 | Calibration Change | Key | 0.40 dB | 2
3 | 2024-04-04 14:17 | 45386.5948 | Calibration Change | Key | -0.27 dB | 3
4 | 2024-04-04 14:17 | 45386.5951 | Calibration Change | Key | -0.04 dB | 4

## Time History
Record # | Record Type | Date | Time | LAeq | LApeak | LAS | LASmax | LASmin | LAFmin | LZeq | LZpeak | 1/1 LZS 8.0 | 1/1 LZS 16.0 | 1/1 LZS 31.5 | 1/1 LZS 63.0 | 1/1 LZS 125 | 1/1 LZS 250 | 1/1 LZS 500 | 1/1 LZS 1000 | 1/1 LZS 2000 | 1/1 LZS 4000 | 1/1 LZS 8000 | 1/1 LZS 16000 | 1/1 LZeq 8.0 | 1/1 LZeq 16.0 | 1/1 LZeq 31.5 | 1/1 LZeq 63.0 | 1/1 LZeq 125 | 1/1 LZeq 250 | 1/1 LZeq 500 | 1/1 LZeq 1000 | 1/1 LZeq 2000 | 1/1 LZeq 4000 | 1/1 LZeq 8000 | 1/1 LZeq 16000 | 1/1 LZSmax 8.0 | 1/1 LZSmax 16.0 | 1/1 LZSmax 31.5 | 1/1 LZSmax 63.0 | 1/1 LZSmax 125 | 1/1 LZSmax 250 | 1/1 LZSmax 500 | 1/1 LZSmax 1000 | 1/1 LZSmax 2000 | 1/1 LZSmax 4000 | 1/1 LZSmax 8000 | 1/1 LZSmax 16000 | 1/1 LZSmin 8.0 | 1/1 LZSmin 16.0 | 1/1 LZSmin 31.5 | 1/1 LZSmin 63.0 | 1/1 LZSmin 125 | 1/1 LZSmin 250 | 1/1 LZSmin 500 | 1/1 LZSmin 1000 | 1/1 LZSmin 2000 | 1/1 LZSmin 4000 | 1/1 LZSmin 8000 | 1/1 LZSmin 16000 | 1/3 LZS 6.3 | 1/3 LZS 8.0 | 1/3 LZS 10.0 | 1/3 LZS 12.5 | 1/3 LZS 16.0 | 1/3 LZS 20.0 | 1/3 LZS 25.0 | 1/3 LZS 31.5 | 1/3 LZS 40.0 | 1/3 LZS 50.0 | 1/3 LZS 63.0 | 1/3 LZS 80.0 | 1/3 LZS 100 | 1/3 LZS 125 | 1/3 LZS 160 | 1/3 LZS 200 | 1/3 LZS 250 | 1/3 LZS 315 | 1/3 LZS 400 | 1/3 LZS 500 | 1/3 LZS 630 | 1/3 LZS 800 | 1/3 LZS 1000 | 1/3 LZS 1250 | 1/3 LZS 1600 | 1/3 LZS 2000 | 1/3 LZS 2500 | 1/3 LZS 3150 | 1/3 LZS 4000 | 1/3 LZS 5000 | 1/3 LZS 6300 | 1/3 LZS 8000 | 1/3 LZS 10000 | 1/3 LZS 12500 | 1/3 LZS 16000 | 1/3 LZS 20000 | 1/3 LZeq 6.3 | 1/3 LZeq 8.0 | 1/3 LZeq 10.0 | 1/3 LZeq 12.5 | 1/3 LZeq 16.0 | 1/3 LZeq 20.0 | 1/3 LZeq 25.0 | 1/3 LZeq 31.5 | 1/3 LZeq 40.0 | 1/3 LZeq 50.0 | 1/3 LZeq 63.0 | 1/3 LZeq 80.0 | 1/3 LZeq 100 | 1/3 LZeq 125 | 1/3 LZeq 160 | 1/3 LZeq 200 | 1/3 LZeq 250 | 1/3 LZeq 315 | 1/3 LZeq 400 | 1/3 LZeq 500 | 1/3 LZeq 630 | 1/3 LZeq 800 | 1/3 LZeq 1000 | 1/3 LZeq 1250 | 1/3 LZeq 1600 | 1/3 LZeq 2000 | 1/3 LZeq 2500 | 1/3 LZeq 3150 | 1/3 LZeq 4000 | 1/3 LZeq 5000 | 1/3 LZeq 6300 | 1/3 LZeq 8000 | 1/3 LZeq 10000 | 1/3 LZeq 12500 | 1/3 LZeq 16000 | 1/3 LZeq 20000 | 1/3 LZSmax 6.3 | 1/3 LZSmax 8.0 | 1/3 LZSmax 10.0 | 1/3 LZSmax 12.5 | 1/3 LZSmax 16.0 | 1/3 LZSmax 20.0 | 1/3 LZSmax 25.0 | 1/3 LZSmax 31.5 | 1/3 LZSmax 40.0 | 1/3 LZSmax 50.0 | 1/3 LZSmax 63.0 | 1/3 LZSmax 80.0 | 1/3 LZSmax 100 | 1/3 LZSmax 125 | 1/3 LZSmax 160 | 1/3 LZSmax 200 | 1/3 LZSmax 250 | 1/3 LZSmax 315 | 1/3 LZSmax 400 | 1/3 LZSmax 500 | 1/3 LZSmax 630 | 1/3 LZSmax 800 | 1/3 LZSmax 1000 | 1/3 LZSmax 1250 | 1/3 LZSmax 1600 | 1/3 LZSmax 2000 | 1/3 LZSmax 2500 | 1/3 LZSmax 3150 | 1/3 LZSmax 4000 | 1/3 LZSmax 5000 | 1/3 LZSmax 6300 | 1/3 LZSmax 8000 | 1/3 LZSmax 10000 | 1/3 LZSmax 12500 | 1/3 LZSmax 16000 | 1/3 LZSmax 20000 | 1/3 LZSmin 6.3 | 1/3 LZSmin 8.0 | 1/3 LZSmin 10.0 | 1/3 LZSmin 12.5 | 1/3 LZSmin 16.0 | 1/3 LZSmin 20.0 | 1/3 LZSmin 25.0 | 1/3 LZSmin 31.5 | 1/3 LZSmin 40.0 | 1/3 LZSmin 50.0 | 1/3 LZSmin 63.0 | 1/3 LZSmin 80.0 | 1/3 LZSmin 100 | 1/3 LZSmin 125 | 1/3 LZSmin 160 | 1/3 LZSmin 200 | 1/3 LZSmin 250 | 1/3 LZSmin 315 | 1/3 LZSmin 400 | 1/3 LZSmin 500 | 1/3 LZSmin 630 | 1/3 LZSmin 800 | 1/3 LZSmin 1000 | 1/3 LZSmin 1250 | 1/3 LZSmin 1600 | 1/3 LZSmin 2000 | 1/3 LZSmin 2500 | 1/3 LZSmin 3150 | 1/3 LZSmin 4000 | 1/3 LZSmin 5000 | 1/3 LZSmin 6300 | 1/3 LZSmin 8000 | 1/3 LZSmin 10000 | 1/3 LZSmin 12500 | 1/3 LZSmin 16000 | 1/3 LZSmin 20000 | LA1.00 | LA10.00 | LA33.30 | LA50.00 | LA66.60 | LA90.00 | OVLD | OBA OVLD | Marker | Comments
1 | Calibration Change | 2024-04-04 13:55 | 45386.5802
2 | Calibration Change | 2024-04-04 14:16 | 45386.5947
3 | Calibration Change | 2024-04-04 14:17 | 45386.5948
4 | Calibration Change | 2024-04-04 14:17 | 45386.5951